## Solar only CALCS
ACT
| NSW | 1.382
| VIC | 1.185
|  | Incl GST | modules
0.2145 | Panel | 3158.5125 | System size in W | 14725 | 10.906
0.16447 | Inverter | 1980 | panel size | 475
0.08 | Rails | 1295.8 | panel price /w | 0.195
0.29 | Installation - solar | 4697.275 | no of panels | 31 | 26 | 12
0 | cost of leads | 150 | total generated power | 14725 | 12350 | 5700
|  | 0 | no of panels | 31
0 | LGChem Resu 10/12 |  | Inverter
0 | AlphaESS |  | Price ex GST | 1800 |  | 7150
0 | NextGen Rebate |  | State (NSW/QLD=1.382, VIC=1.185) | 1.382
#DIV/0! | Installation - battery |  | Double Story
0.020374 | CES + transport | 300 | BYD B BOX
0 | extra |  | battery size (each 3.5kWh) | 16 | 56 | kWh
0.78653 | Total Expenses | 11581.5875 | ByD B Box Wanted | 0
0.31589 | STC | 4651.4171 |  | 0
| Customer Payment | 8200 | Tilt | 0 | 0
| Total Income | 12851.4171
6930.1704
|  | 1269.8296 | Micro Inverter
|  | 1200 | 270w ? If yes type 1 -> | 0 | 6649.5
|  |  | Redback Batteries | qty | unit $ ex GST | total ex GST | total inc GST | 10% price increase
|  |  | Pylontech US3000 (3.5kWH) | 3 | 1622 | 4866 | 5352.6 | 5887.86
|  |  | BE14000 Battery enclosure | 1 | 990 | 990 | 1089 | 1197.9
[6 empty] | 5856 | 6441.6 | 7085.76

## Solar + Batt CALCS
ACT
| NSW | 1.382
| VIC | 1.185
|  | Incl GST | modules
0.2145 | Panel | 2241.525 | System size in W | 10450 | 10.906
0.32474 | Inverter | 3080 | panel size | 475
0.08 | Rails | 919.6 | panel price /w | 0.195
0.29 | Installation - solar | 3333.55 | no of panels | 22 | 26 | 12
0 | cost of leads | 150 | total generated power | 10450 | 12350 | 5700
0.78469 | Battery | 8200 | no of panels | 22
0 |  |  | Inverter
0 |  |  | Price ex GST | 2800 |  | 7150
0 | NextGen Rebate |  | State (NSW/QLD=1.382, VIC=1.185) | 1.382
#DIV/0! | Installation - battery | 1700 | Double Story
0.033493 | CES + transport | 350 | BYD B BOX
0 | extra |  | battery size (each 3.5kWh) | 16 | 56 | kWh
1.9115 | Total Expenses | 19974.675 | ByD B Box Wanted | 0
0.31351 | STC | 3276.1905 |  | 0 |  |  |  | 1300
| Customer Payment | 18200 | Tilt | 0 | 0 |  |  | 1900
| Total Income | 21476.1905 | [5 empty] | 800
16698.4845
|  | 1501.5155 | Micro Inverter
|  | 1500 | 270w ? If yes type 1 -> | 0 | 4719
|  |  | Redback Batteries | qty | unit $ ex GST | total ex GST | total inc GST | 10% price increase | Rails | 700
|  |  | Pylontech US3000 (3.5kWH) | 3 | 1622 | 4866 | 5352.6 | 5887.86 | Dc iso | 220
|  |  | BE14000 Battery enclosure | 1 | 990 | 990 | 1089 | 1197.9 | ac aso | 50
[6 empty] | 5856 | 6441.6 | 7085.76 | tin kits | 300

## Batt only CALCS
ACT
| NSW | 1.382
| VIC | 1.185
Incl GST
#DIV/0! | Panel | 0
#DIV/0! | Inverter | 0
0.12 | Rails | 0
0.29 | Installation - solar | 0
0.31 | Tilt
#DIV/0! | Battery | 5800
#DIV/0! | commission | 150
#DIV/0!
#DIV/0! | NextGen Rebate
#DIV/0! | Installation - battery | 1650
#DIV/0! | CES + transport | 350
#DIV/0! | extra
#DIV/0! | Total Expenses | 7950
#DIV/0! | STC | 0
| Customer Payment | 9500
| Total Income | 9500
7950
1550
1500

## Solar Only Pricing
6
CONFIDENTIAL!! DO NOT DISCLOSE THIS TO CUSTOMERS
SUPPLIER | QTY | WATTS | SYSTEM kW | Isc | Voc | PANELS | PANEL MODEL NO. | $/W (ex. GST) | WARRANTY | FEATURES | STOCK
SWH |  | 415 | 0 | 13.94 | 37.5 | Longi 415 P Type | LR5-54HPH-415M | 0.35 | 25/25 | Excellent quality / better performance than some premium panels / very cost effective - for a limited time - until 15 Mar
SWH |  | 415 | 0 | 10.55 | 50 | Trina 415 P Type | TSM-415DE09R.08 | 0.33(NSW rate) | 25/25
SWH |  | 465 | 0 | 10.64 | 51.8 | Trina 435 N Type - note Max 10 PANELS / STRING | TSM-435NEG9R.28 | 0.295 | 25/30 | Excellent quality / Long warranty / Good technology - N-TYPE / Microcrack withstandability with Dual Glass | On order
SWH |  | 415 | 0 | 13.87 | 38.08 | TW Solar 415W PercMono 108 Halfcells Black 30mm | TW415MAP-108-H/30 | 0.24 | 25/25 | Entry level / excellent value / 25 years warranty for a very good price / excellent low light performance | On order
SWH |  | 440 | 0 | 13.86 | 39.38 | Jinko Tiger Neo N-Type 440W | JKM440N-54HL4-V | 0.205 | 25/25 | Excellent quality / Long warranty / Good technology - N-TYPE | On order
SWH | 31 | 475 | 14.725 | 14.23 | 42.54 | Jinko Tiger Neo N-Type 475W - check overhang issue | JKM475N-60HL4-V | 0.205 | 25/25 | Excellent quality / Long warranty / Good technology - N-TYPE | On order
SWH |  | 510 | 0 | 13.94 | 45.35 | QCELL Q.PEAK DUO ML-G11S.2+ 500W |  | 0.21 | 25/25 | GERMAN TOP QUALITY - Excellent quality / Long warranty / German technology | On order
SWH |  | 420 | 0 | 13.99 | 37.14 | QCELL Q.MAXX-G5+ 415W |  | 0.21 | 25/25 | GERMAN TOP QUALITY - Excellent quality / Long warranty / German technology | On order
| 31 | <-- THIS CELL CONTAINS FORMULA SO PLEASE DO NOT DELETE THE CONTENTS OF THIS CELL
STEP 2: ENTER CORRESPONDING PANEL WATTAGE (COLUMN C) & PRICE (COLUMN I) | [6 empty] | THREE MAIN TECHNICAL RULES TO COMPLY:
| Wattage for selected panel | 475 | <-- refer cells C4 to C8 for the selected panel |  |  |  | 1. Minimum number of panels
| $/W for selected panel | 0.195 | <-- refer cells I4 to I8 for the selected panel |  |  |  | Inverter start up voltage / Panel Voc
2. Maximum number of panels
STEP 3: ENTER SELECTED INVERTER PRICE (COLUMN I) | [6 empty] | 526 / Panel Voc (Residential)
| Inverter price | 1800 | ex GST | <-- refer cells I22 to I68 for the selected panel |  |  | 3. Check inverter max output current
Inverter max short circuit current > no. of parallel string x Panel Isc
SUPPLIER | PANEL OVER- SIZING kW (AC/DC) | DC CONNEC-TION MPPT 1 / MPPT 2 / MPPT 3 | INVERTER STARTUP VOLTAGE (V) | MAX SHORT CIRCUIT CURRENT MPPT 1 / MPPT 2 | INVERTER |  | PANEL MODEL NO. | INVERTER PRICE (ex. GST) | WARRANTY * | FEATURES | NOTES
OSW | 5/6.66 | 2023-02-02 | 120 | 22/22 | Solis 5kW single phase |  | SOL-S5-GR1P5K | 540 | 10
OSW | 2023-08-06 | 2023-02-02 | 120 | 22/22 | Solis 6kW single phase |  | SOL-S5-GR1P6K | 600 | 10
OSW | 8/10.66 | 2023-03-03 | 120 | 22/22/22 | Solis 8kW single phase |  | SOL-S5-GR1P8K | 850 | 10
OSW | 10/13.33 | 2023-03-03 | 120 | 22/22/22 | Solis 10kW single phase |  | SOL-S5-GR1P10K | 950 | 10
OSW | 5/6.66 | 2023-02-02 | 180 | 50/25 | Solis 5kW three phase |  | SOL-S5-GR3P5K-AU-v2 | 900 | 10
OSW | 2023-08-06 | 2023-02-02 | 180 | 50/25 | Solis 6kW three phase |  | SOL-S5-GR3P6K-AU-v2 | 1050 | 10
OSW | 8/10.66 | 2023-04-02 | 180 | 50/50 | Solis 8kW three phase |  | SOL-S5-GR3P8K-AU-v2 | 1150 | 10
OSW | 10/13.33 | 2023-04-02 | 180 | 50/50 | Solis 10kW three phase |  | SOL-S5-GR3P10K-AU-v2 | 1200 | 10
OSW | 15/20 | 2023-04-02 | 180 | 50/50 | Solis 15kW three phase |  | SOL-S5-GR3P15K-v2 | 1400 | 10
SWH | 5/6.66 | 2022-01-01 | 120 | 13.8/13.8 | Goodwe 5kW single phase |  | GW5000D-NS | 700 | 10 (refer notes -->) | Excellent quality / good price / best inverter at this price / good support | Inverter need to be connected to WiFi for availing the 10 year warranty
SWH | 2022-08-06 | 1/1/1 | 80 | 15/15/15 | Goodwe 6kW single phase |  | GW6000-MS | 1000 | 10 (refer notes -->) | Excellent quality / good price / best inverter at this price / good support | Inverter need to be connected to WiFi for availing the 10 year warranty
SWH | 8.5/11.33 | 1/1/1 | 80 | 15/15/15 | Goodwe 8.5kW single phase |  | GW8500-MS | 1000 | 10 (refer notes -->) | Excellent quality / good price / best inverter at this price / good support | Inverter need to be connected to WiFi for availing the 10 year warranty
SWH | 10/13.33 | 1/1/1 | 80 | 15/15/15 | Goodwe 10kW single phase |  | GW10K-MS | 1150 | 10 (refer notes -->) | Excellent quality / good price / best inverter at this price / good support | Inverter need to be connected to WiFi for availing the 10 year warranty
SWH | 5/6.66 | 2022-01-01 | 160 | 15.6/15.6 | Goodwe 5kW three phase |  | GW5K-DT(G2) | 1000 | 10 (refer notes -->) | Excellent quality / good price / best inverter at this price / good support | Inverter need to be connected to WiFi for availing the 10 year warranty
SWH | 2022-08-06 | 2022-01-01 | 160 | 15.6/15.6 | Goodwe 6kW three phase |  | GW6K-DT(G2) | 1100 | 10 (refer notes -->) | Excellent quality / good price / best inverter at this price / good support | Inverter need to be connected to WiFi for availing the 10 year warranty
SWH | 8/10.66 | 2022-02-02 | 180 | 37.5/37.5 | Goodwe 8kW three phase |  | GW8KAU-DT(G2) | 1250 | 10 (refer notes -->) | Excellent quality / good price / best inverter at this price / good support | Inverter need to be connected to WiFi for availing the 10 year warranty
SWH | 10/13.33 | 2022-02-02 | 180 | 37.5/37.5 | Goodwe 10kW three phase |  | GW10KAU-DT(G2) | 1350 | 10 (refer notes -->) | Excellent quality / good price / best inverter at this price / good support | Inverter need to be connected to WiFi for availing the 10 year warranty
SWH | 15/20 | 2022-02-02 | 180 | 37.5/37.5 | Goodwe 15kW three phase |  | GW15KAU-DT(G2) | 1650 | 10 (refer notes -->) | Excellent quality / good price / best inverter at this price / good support | Inverter need to be connected to WiFi for availing the 10 year warranty
SWH | 20/26.66 | 2022-02-02 | 180 | 37.5/37.5 | Goodwe 20kW three phase |  | GW20KAU-DT(G2) | 1950 | 10 (refer notes -->) | Excellent quality / good price / best inverter at this price / good support | Inverter need to be connected to WiFi for availing the 10 year warranty
SJ / SWH | 5/6.66 | 2022-02-02 | 80 | 33/18 | Fronius GEN 24 Primo 5kW |  | Fronius GEN24 Primo 5kW | 1750 | 10 (refer notes -->) | Leader in technology innovation & R&D / Austria made / good support / popular | Registration reguired upon installation to avail 10 years warranty
SJ / SWH | 2022-08-06 | 2022-02-02 | 80 | 33/18 | Fronius GEN 24 Primo 6kW |  | Fronius GEN24 Primo 6kW | 2050 | 10 (refer notes -->) | Leader in technology innovation & R&D / Austria made / good support / popular | Registration reguired upon installation to avail 10 years warranty
SJ / SWH | 8.2/10.93 | 2022-02-02 | 80 | 27/27 | Fronius Primo 8.2kW |  | Fronius Primo 8.2kW | 2350 | 10 (refer notes -->) | Leader in technology innovation & R&D / Austria made / good support / popular | Registration reguired upon installation to avail 10 years warranty
SJ / SWH | 5/7.5 | 2022-02-02 | 80 | 33/18 | Fronius Primo GEN 24 Plus 5kW Hybrid |  | Fronius Primo GEN 24 Plus 5kW Hybrid | 2550 | 10 (refer notes -->) | Leader in technology innovation & R&D / Austria made / good support / popular | Registration reguired upon installation to avail 10 years warranty
SJ / SWH | 2022-09-06 | 2022-02-02 | 80 | 33/18 | Fronius Primo GEN 24 Plus 6kW Hybrid |  | Fronius Primo GEN 24 Plus 6kW Hybrid | 2850 | 10 (refer notes -->) | Leader in technology innovation & R&D / Austria made / good support / popular | Registration reguired upon installation to avail 10 years warranty
SJ / SWH | 5/6.66 | 2022-02-02 | 200 | 24/24 | Fronius Symo 5kW |  | Fronius Symo 5kW | 1950 | 10 (refer notes -->) | Leader in technology innovation & R&D / Austria made / good support / popular | Registration reguired upon installation to avail 10 years warranty
SJ / SWH | 2022-08-06 | 2022-02-02 | 200 | 24/24 | Fronius Symo 6kW |  | Fronius Symo 6kW | 2000 | 10 (refer notes -->) | Leader in technology innovation & R&D / Austria made / good support / popular | Registration reguired upon installation to avail 10 years warranty
SJ / SWH | 7/9.33 | 2022-02-02 | 200 | 24/24 | Fronius Symo 7kW |  | Fronius Symo 7kW | 2450 | 10 (refer notes -->) | Leader in technology innovation & R&D / Austria made / good support / popular | Registration reguired upon installation to avail 10 years warranty
SJ / SWH | 8.2/10.93 | 2022-02-02 | 200 | 24/24 | Fronius Symo 8.2kW |  | Fronius Symo 8.2kW | 2750 | 10 (refer notes -->) | Leader in technology innovation & R&D / Austria made / good support / popular | Registration reguired upon installation to avail 10 years warranty
SJ / SWH | 10/13.33 | 2022-03-03 | 200 | 40.5/24.8 | Fronius Symo 10kW |  | Fronius Symo 10kW | 2800 | 10 (refer notes -->) | Leader in technology innovation & R&D / Austria made / good support / popular | Registration reguired upon installation to avail 10 years warranty
SJ / SWH | 12.5/16.66 | 2022-03-03 | 200 | 40.5/24.8 | Fronius Symo 12.5kW |  | Fronius Symo 12.5kW | 3100 | 10 (refer notes -->) | Leader in technology innovation & R&D / Austria made / good support / popular | Registration reguired upon installation to avail 10 years warranty
SJ / SWH | 0 | 2022-03-03 | 200 | 49.5/40.5 | Fronius Symo 15kW |  | Fronius Symo 15kW | 3150 | 10 (refer notes -->) | Leader in technology innovation & R&D / Austria made / good support / popular | Registration reguired upon installation to avail 10 years warranty
SJ / SWH | 17.5/23.33 | 2022-03-03 | 200 | 49.5/40.5 | Fronius Symo 17.5kW |  | Fronius Symo 17.5kW | 3350 | 10 (refer notes -->) | Leader in technology innovation & R&D / Austria made / good support / popular | Registration reguired upon installation to avail 10 years warranty
SJ / SWH | 20/26.66 | 2022-03-03 | 200 | 49.5/40.5 | Fronius Symo 20kW |  | Fronius Symo 20kW | 3600 | 10 (refer notes -->) | Leader in technology innovation & R&D / Austria made / good support / popular | Registration reguired upon installation to avail 10 years warranty
SJ / SWH | 5/6.66 | 2022-01-02 | 80 | 18.75/18.75 | Fronius Symo GEN 24 Plus 5kW Hybrid |  | Fronius Symo GEN 24 Plus 5kW Hybrid | 2800 | 10 (refer notes -->) | Leader in technology innovation & R&D / Austria made / good support / popular | Registration reguired upon installation to avail 10 years warranty
SJ / SWH | 2023-08-06 | 2022-01-02 | 80 | 37.5/18.75 | Fronius Symo GEN 24 Plus 6kW Hybrid |  | Fronius Symo GEN 24 Plus 6kW Hybrid | 3250 | 10 (refer notes -->) | Leader in technology innovation & R&D / Austria made / good support / popular | Registration reguired upon installation to avail 10 years warranty
SJ / SWH | 8/10.66 | 2022-01-02 | 80 | 37.5/18.75 | Fronius Symo GEN 24 Plus 8kW Hybrid |  | Fronius Symo GEN 24 Plus 8kW Hybrid | 3850 | 10 (refer notes -->) | Leader in technology innovation & R&D / Austria made / good support / popular | Registration reguired upon installation to avail 10 years warranty
SJ / SWH | 10/13.33 | 2022-01-02 | 80 | 37.5/18.75 | Fronius Symo GEN 24 Plus 10kW Hybrid |  | Fronius Symo GEN 24 Plus 10kW Hybrid | 4050 | 10 (refer notes -->) | Leader in technology innovation & R&D / Austria made / good support / popular | Registration reguired upon installation to avail 10 years warranty
| 5/7.5 | 2022-01-01 | 125 | 13.8 | LG 5kW single phase Hybrid |  | LG 5048ES INVERTER | 2000 | 10 | Superior quality / Well known brand / Excellent tech support | Compatible only with LV Batteries LG RESU 6.5, 10, & 12
OSW / SWH / BSS | 5/6.66 | 2023-01-01 | 50 | 20/20 | Sungrow G3 5kW 1 Phase 2 MPPT (SG5.0RS) |  | SG5.0RS | 900 | 10 | Superior quality / good technical spec / good tech support
OSW / SWH / BSS | 8/10.66 | 1/1/1 | 50 | 20/20/20 | Sungrow G3 ADA 8kW 1 Phase 3 MPPT (SG8.0RS-ADA) (comes with smart meter S100 and DC Cover) |  | SG8.0RS-ADA | 1700 | 10 | Superior quality / good technical spec / good tech support
OSW / SWH / BSS | 10/13.33 | 1/1/1 | 50 | 20/20/20 | Sungrow G3 ADA 10kW 1 Phase 3 MPPT (SG10RS-ADA) (comes with smart meter S100 and DC Cover) |  | SG10RS-ADA | 1800 | 10 | Superior quality / good technical spec / good tech support
OSW / SWH / BSS | 5/6.66 | 2023-01-01 | 180 | 18/18 | Sungrow New Generation 5kW 3 Phase 2 MPPT (SG5.0RT) |  | SG5.0RT | 1350 | 10 | Superior quality / good technical spec / good tech support
OSW / SWH / BSS | 8/10.66 | 2023-01-02 | 180 | 36/18 | Sungrow New Generation 8kW 3 Phase 2 MPPT (SG8.0RT) |  | SG8.0RT | 1450 | 10 | Superior quality / good technical spec / good tech support
OSW / SWH / BSS | 10/13.33 | 2023-01-02 | 180 | 36/18 | Sungrow New Generation 10kW 3 Phase 2 MPPT (SG10RT) |  | SG10RT | 1700 | 10 | Superior quality / good technical spec / good tech support
OSW / SWH / BSS | 15/20 | 2023-02-02 | 180 | 36/36 | Sungrow New Generation 15kW 3 Phase 2 MPPT (SG15RT) |  | SG15RT | 2000 | 10 | Superior quality / good technical spec / good tech support
OSW / SWH / BSS | 20/26.66 | 2023-02-02 | 180 | 36/36 | Sungrow New Generation 20kW 3 Phase 2 MPPT (SG20RT) |  | SG20RT | 2200 | 10 | Superior quality / good technical spec / good tech support
OS / SW / BS | 5/6.66 | 2022-01-01 | 125 | 15/15 | Sungrow 5kW single phase Hybrid - LV |  | SGR-SH5K-30 | 2000 | 10 | Superior quality / good technical spec / good tech support | Compatible only with LV Batteries LG RESU 6.5, 10, & 12
OS / SW / BS | 5/6.66 | 2022-01-01 | 50 | 20/20 | Sungrow 5kW single phase Hybrid - HV |  | SGR-SH5.0RS | 1800 | 10 | Superior quality / good technical spec / good tech support / efficient - HV | Compatible only with HV Batteries LG RESU 10H PRIME, & LG RESU 16H PRIME + Sungrow batteries SBR 96, 128, 256
OS / SW / BS | 45144 | 2022-01-01 | 50 | 20/20 | Sungrow 6kW single phase Hybrid - HV |  | SGR-SH6.0RS | 2000 | 10 | Superior quality / good technical spec / good tech support / efficient - HV | Compatible only with HV Batteries LG RESU 10H PRIME, & LG RESU 16H PRIME + Sungrow batteries SBR 96, 128, 256
OS / SW / BS | 5/6.66 | 2022-01-01 | 180 | 16/16 | Sungrow 5kW three phase Hybrid - HV |  | SGR-SH5.0RT | 2900 | 10 | Superior quality / good technical spec / good tech support / efficient - HV | Compatible only with HV Batteries LG RESU 10H PRIME, & LG RESU 16H PRIME + Sungrow batteries SBR 96, 128, 256
OS / SW / BS | 10/13.3 | 2022-02-01 | 250 | 16/32 | Sungrow 10kW three phase Hybrid - HV |  | SGR-SH10RT | 3500 | 10 | Superior quality / good technical spec / good tech support / efficient - HV | Compatible only with HV Batteries LG RESU 10H PRIME, & LG RESU 16H PRIME + Sungrow batteries SBR 96, 128, 256
OS / SW / KR | 5/6.66 | 2023-01-01 | 100 | 18/18 | Huawei 5kW single phase Hybrid |  | SUN2000-5KTL-L1 | 1300 | 10 | Superior quality / good technical spec / excellent tech support | Compatible with Huawei LUNA battery and back up box
OS / SW / KR | 2023-08-06 | 2023-01-01 | 100 | 18/18 | Huawei 6kW single phase Hybrid |  | SUN2000-6KTL-L1 | 1600 | 10 | Superior quality / good technical spec / excellent tech support | Compatible with Huawei LUNA battery and back up box
OS / SW / KR | 5/6.66 | 2022-01-01 | 200 | 19.5/19.5 | Huawei 5kW three phase Hybrid - HV |  | SUN2000-5KTL-M1 | 1600 | 10 | Superior quality / good technical spec / excellent tech support | Compatible with Huawei LUNA battery and back up box
OS / SW / KR | 2023-08-06 | 2022-01-01 | 200 | 19.5/19.5 | Huawei 6kW three phase Hybrid - HV |  | SUN2000-6KTL-M1 | 1750 | 10 | Superior quality / good technical spec / excellent tech support | Compatible with Huawei LUNA battery and back up box
STEP 5: ENTER DESIRED SYSTEM PRICE & CHECK FOR ACCEPTABLE PRICE | [7 empty] | 1550
1800
|  | ACCEPTABLE PRICE | 8200 |  | <----- DO NOT OVERWRITE IN THIS CELL
|  | ACCEPTABLE PRICE | 8200 |  | <----- DO NOT OVERWRITE IN THIS CELL
|  |  |  | INC. GST |  | THIS CELL CALCULATES THE SYSTEM PRICE AUTOMATICALLY
EXTRAS TO BE ADDED ON TOP OF THIS AMOUNT
16mm 4c+e | 18.65/m | 2386/100m |  | 10258 | inc gst | forklift
50mm 4c+e | 660 |  |  | 18.6509
8000

## Solar + Batt Pricing
p
CONFIDENTIAL!! DO NOT DISCLOSE THIS TO CUSTOMERS
SUPPLIER |  |  | QTY | WATTS | SYSTEM kW | Isc | Voc | PANELS | PANEL MODEL NO. | $/W (ex. GST) | WARRANTY | FEATURES | STOCK
SWH |  |  |  | 415 | 0 | 13.94 | 37.5 | Longi 415 P Type | LR5-54HPH-415M | 0.35 | 25/25 | Excellent quality / better performance than some premium panels / very cost effective - for a limited time - until 15 Mar
SWH |  |  |  | 435 | 0 | 10.64 | 51.8 | Trina 435 N Type - note Max 10 PANELS / STRING | TSM-435NEG9R.28 | 0.295 | 25/30 | Excellent quality / Long warranty / Good technology - N-TYPE / Microcrack withstandability with Dual Glass | On order
SWH |  |  |  | 415 | 0 | 13.87 | 38.08 | TW Solar 415W PercMono 108 Halfcells Black 30mm | TW415MAP-108-H/30 | 0.24 | 25/25 | Entry level / excellent value / 25 years warranty for a very good price / excellent low light performance | On order
SWH |  |  |  | 440 | 0 | 13.86 | 39.38 | Jinko Tiger Neo N-Type 440W | JKM440N-54HL4-V | 0.24 | 25/25 | Excellent quality / Long warranty / Good technology - N-TYPE | On order
SWH |  |  | 22 | 475 | 10.45 | 14.23 | 42.54 | Jinko Tiger Neo N-Type 475W - check overhang issue | JKM475N-60HL4-V | 0.305 | 25/25 | Excellent quality / Long warranty / Good technology - N-TYPE | On order
SWH |  |  |  | 450 | 0 | 13.94 | 45.35 | QCELL Q.PEAK DUO ML-G11S.2+ 500W |  | 0.21 | 25/25 | GERMAN TOP QUALITY - Excellent quality / Long warranty / German technology | On order
SWH |  |  |  | 400 | 0 | 13.99 | 37.14 | QCELL Q.MAXX-G5+ 415W |  | 0.21 | 25/25 | GERMAN TOP QUALITY - Excellent quality / Long warranty / German technology | On order
|  | TOTAL PANELS | 22 | <-- THIS CELL CONTAINS FORMULA SO PLEASE DO NOT DELETE THE CONTENTS OF THIS CELL
STEP 2: ENTER CORRESPONDING PANEL WATTAGE (COLUMN E) & PRICE (COLUMN K) | [8 empty] | THREE MAIN TECHNICAL RULES TO COMPLY:
|  | Wattage for selected panel | 475 | <-- refer cells E4 to E8 for the selected panel |  |  |  |  | 1. Minimum number of panels
|  | $/W for selected panel | 0.195 | <-- refer cells K4 to K8 for the selected panel |  |  |  |  | Inverter start up voltage / Panel Voc
[8 empty] | 25 | 2. Maximum number of panels
STEP 3: ENTER SELECTED INVERTER PRICE (COLUMN K) | [8 empty] | 526 / Panel Voc (Residential)
|  | Inverter price | 2800 | ex GST | <-- refer cells K22 to K70 for the selected panel |  |  |  | 3. Check inverter max output current
Inverter max short circuit current > no. of parallel string x Panel Isc
SUPPLIER |  | PANEL OVERSIZING WITH BATTERY ONLY kW (AC / DC) | PANEL OVER- SIZING kW (AC/DC) | DC CONNEC-TION MPPT 1 / MPPT 2 / MPPT 3 | INVERTER STARTUP VOLTAGE (V) | MAX SHORT CIRCUIT CURRENT MPPT 1 / MPPT 2 | INVERTER |  | INVERTER MODEL NO. | INVERTER PRICE (ex. GST) | WARRANTY * | FEATURES | NOTES
TZ |  |  | 5/6.66 | 2023-01-01 | 90 | 15/15 | Sofar 5kW single phase |  | 5KTLM-G3 | 550 | 10 (refer notes -->) | Excellent quality / good price / best inverter at this price / good support / Includes export control & consumption monitoring with additional CTs
TZ |  |  | 2023-08-06 | 2023-01-01 | 90 | 15/15 | Sofar 6kW single phase |  | 6KTLM-G3 | 600 | 10 (refer notes -->) | Excellent quality / good price / best inverter at this price / good support / Includes export control & consumption monitoring with additional CTs
TZ |  |  | 8/10.66 | 1/1/1 | 90 | 30/25/25 | Sofar 8kW single phase |  | 8KTLM-G3 | 950 | 10 (refer notes -->) | Excellent quality / good price / best inverter at this price / good support / Includes export control & consumption monitoring with additional CTs
TZ |  |  | 10/13.33 | 1/1/1 | 90 | 30/25/25 | Sofar 10kW single phase |  | 10KTLM-G3 | 1050 | 10 (refer notes -->) | Excellent quality / good price / best inverter at this price / good support / Includes export control & consumption monitoring with additional CTs
TZ |  |  | 5/6.66 | 2023-01-01 | 160 | 22.5/22.5 | Sofar 5kW three phase |  | 5KTLX-G3 | 900 | 10 (refer notes -->) | Excellent quality / good price / best inverter at this price / good support / Includes export control & consumption monitoring with additional CTs
TZ |  |  | 8/10.66 | 2023-01-01 | 160 | 22.5/22.5 | Sofar 8kW three phase |  | 8KTLX-G3 | 1150 | 10 (refer notes -->) | Excellent quality / good price / best inverter at this price / good support / Includes export control & consumption monitoring with additional CTs
|  |  | 10/13.33 | 2023-01-01 | 160 | 22.5/22.5 | Sofar 10kW three phase |  | 10KTLX-G3 | 1350 | 10 (refer notes -->) | Excellent quality / good price / best inverter at this price / good support / Includes export control & consumption monitoring with additional CTs
|  |  | 15/20 | 2023-02-02 | 160 | 36/36 | Sofar 15kW three phase |  | 15KTLX-G3 | 1400 | 10 (refer notes -->) | Excellent quality / good price / best inverter at this price / good support / Includes export control & consumption monitoring with additional CTs
|  |  | 5/6.66 | 2023-01-01 | 100 | 16/16 | Sofar 5kW single phase hybrid inverter (packaged with battery) |  | ESI 5K-S1 | - | 10 (refer notes -->) | Excellent quality / good price / best inverter at this price / good support / Includes export control & consumption monitoring with additional CTs
|  |  | 2023-08-06 | 2023-01-01 | 100 | 16/16 | Sofar 6kW single phase hybrid inverter (packaged with battery) |  | ESI 6K-S1 | - | 10 (refer notes -->) | Excellent quality / good price / best inverter at this price / good support / Includes export control & consumption monitoring with additional CTs
SWH |  |  | 5/6.66 | 2022-01-01 | 120 | 13.8/13.8 | Goodwe 5kW single phase |  | GW5000D-NS | 700 | 10 (refer notes -->) | Excellent quality / good price / best inverter at this price / good support | Inverter need to be connected to WiFi for availing the 10 year warranty
SWH |  |  | 2022-08-06 | 1/1/1 | 80 | 15/15/15 | Goodwe 6kW single phase |  | GW6000-MS | 1000 | 10 (refer notes -->) | Excellent quality / good price / best inverter at this price / good support | Inverter need to be connected to WiFi for availing the 10 year warranty
SWH |  |  | 8.5/11.33 | 1/1/1 | 80 | 15/15/15 | Goodwe 8.5kW single phase |  | GW8500-MS | 1000 | 10 (refer notes -->) | Excellent quality / good price / best inverter at this price / good support | Inverter need to be connected to WiFi for availing the 10 year warranty
SWH |  |  | 10/13.33 | 1/1/1 | 80 | 15/15/15 | Goodwe 10kW single phase |  | GW10K-MS | 1150 | 10 (refer notes -->) | Excellent quality / good price / best inverter at this price / good support | Inverter need to be connected to WiFi for availing the 10 year warranty
SWH |  |  | 5/6.66 | 2022-01-01 | 160 | 15.6/15.6 | Goodwe 5kW three phase |  | GW5000-SDT | 1000 | 10 (refer notes -->) | Excellent quality / good price / best inverter at this price / good support | Inverter need to be connected to WiFi for availing the 10 year warranty
SWH |  |  | 2022-08-06 | 2022-01-01 | 160 | 15.6/15.6 | Goodwe 6kW three phase |  | GW6K-DT(G2) | 1100 | 10 (refer notes -->) | Excellent quality / good price / best inverter at this price / good support | Inverter need to be connected to WiFi for availing the 10 year warranty
SWH |  |  | 8/10.66 | 2022-02-02 | 180 | 37.5/37.5 | Goodwe 8kW three phase |  | GW8KAU-DT(G2) | 1250 | 10 (refer notes -->) | Excellent quality / good price / best inverter at this price / good support | Inverter need to be connected to WiFi for availing the 10 year warranty
SWH |  |  | 10/13.33 | 2022-02-02 | 180 | 37.5/37.5 | Goodwe 10kW three phase |  | GW10KAU-DT(G2) | 1350 | 10 (refer notes -->) | Excellent quality / good price / best inverter at this price / good support | Inverter need to be connected to WiFi for availing the 10 year warranty
SWH |  |  | 15/20 | 2022-02-02 | 180 | 37.5/37.5 | Goodwe 15kW three phase |  | GW15KAU-DT(G2) | 1650 | 10 (refer notes -->) | Excellent quality / good price / best inverter at this price / good support | Inverter need to be connected to WiFi for availing the 10 year warranty
SWH |  |  | 20/26.66 | 2022-02-02 | 180 | 37.5/37.5 | Goodwe 20kW three phase |  | GW20KAU-DT(G2) | 1950 | 10 (refer notes -->) | Excellent quality / good price / best inverter at this price / good support | Inverter need to be connected to WiFi for availing the 10 year warranty
SJ / SWH |  |  | 5/6.66 | 2022-02-02 | 80 | 33/18 | Fronius GEN 24 Primo 5kW |  | Fronius GEN24 Primo 5kW | 1750 | 10 (refer notes -->) | Leader in technology innovation & R&D / Austria made / good support / popular | Registration reguired upon installation to avail 10 years warranty
SJ / SWH |  |  | 2022-08-06 | 2022-02-02 | 80 | 33/18 | Fronius GEN 24 Primo 6kW |  | Fronius GEN24 Primo 6kW | 2050 | 10 (refer notes -->) | Leader in technology innovation & R&D / Austria made / good support / popular | Registration reguired upon installation to avail 10 years warranty
SJ / SWH |  |  | 8.2/10.93 | 2022-02-02 | 80 | 27/27 | Fronius Primo 8.2kW |  | Fronius Primo 8.2kW | 2350 | 10 (refer notes -->) | Leader in technology innovation & R&D / Austria made / good support / popular | Registration reguired upon installation to avail 10 years warranty
SJ / SWH |  |  | 5/7.5 | 2022-02-02 | 80 | 33/18 | Fronius Primo GEN 24 Plus 5kW Hybrid |  | Fronius Primo GEN 24 Plus 5kW Hybrid | 2550 | 10 (refer notes -->) | Leader in technology innovation & R&D / Austria made / good support / popular | Registration reguired upon installation to avail 10 years warranty
SJ / SWH |  |  | 2022-09-06 | 2022-02-02 | 80 | 33/18 | Fronius Primo GEN 24 Plus 6kW Hybrid |  | Fronius Primo GEN 24 Plus 6kW Hybrid | 2850 | 10 (refer notes -->) | Leader in technology innovation & R&D / Austria made / good support / popular | Registration reguired upon installation to avail 10 years warranty
SJ / SWH |  |  | 5/6.66 | 2022-02-02 | 200 | 24/24 | Fronius Symo 5kW |  | Fronius Symo 5kW | 1950 | 10 (refer notes -->) | Leader in technology innovation & R&D / Austria made / good support / popular | Registration reguired upon installation to avail 10 years warranty
SJ / SWH |  |  | 2022-08-06 | 2022-02-02 | 200 | 24/24 | Fronius Symo 6kW |  | Fronius Symo 6kW | 2000 | 10 (refer notes -->) | Leader in technology innovation & R&D / Austria made / good support / popular | Registration reguired upon installation to avail 10 years warranty
SJ / SWH |  |  | 7/9.33 | 2022-02-02 | 200 | 24/24 | Fronius Symo 7kW |  | Fronius Symo 7kW | 2450 | 10 (refer notes -->) | Leader in technology innovation & R&D / Austria made / good support / popular | Registration reguired upon installation to avail 10 years warranty
SJ / SWH |  |  | 8.2/10.93 | 2022-02-02 | 200 | 24/24 | Fronius Symo 8.2kW |  | Fronius Symo 8.2kW | 2750 | 10 (refer notes -->) | Leader in technology innovation & R&D / Austria made / good support / popular | Registration reguired upon installation to avail 10 years warranty
SJ / SWH |  |  | 10/13.33 | 2022-03-03 | 200 | 40.5/24.8 | Fronius Symo 10kW |  | Fronius Symo 10kW | 2800 | 10 (refer notes -->) | Leader in technology innovation & R&D / Austria made / good support / popular | Registration reguired upon installation to avail 10 years warranty
SJ / SWH |  |  | 12.5/16.66 | 2022-03-03 | 200 | 40.5/24.8 | Fronius Symo 12.5kW |  | Fronius Symo 12.5kW | 3100 | 10 (refer notes -->) | Leader in technology innovation & R&D / Austria made / good support / popular | Registration reguired upon installation to avail 10 years warranty
SJ / SWH |  |  | 0 | 2022-03-03 | 200 | 49.5/40.5 | Fronius Symo 15kW |  | Fronius Symo 15kW | 3150 | 10 (refer notes -->) | Leader in technology innovation & R&D / Austria made / good support / popular | Registration reguired upon installation to avail 10 years warranty
SJ / SWH |  |  | 17.5/23.33 | 2022-03-03 | 200 | 49.5/40.5 | Fronius Symo 17.5kW |  | Fronius Symo 17.5kW | 3350 | 10 (refer notes -->) | Leader in technology innovation & R&D / Austria made / good support / popular | Registration reguired upon installation to avail 10 years warranty
SJ / SWH |  |  | 20/26.66 | 2022-03-03 | 200 | 49.5/40.5 | Fronius Symo 20kW |  | Fronius Symo 20kW | 3600 | 10 (refer notes -->) | Leader in technology innovation & R&D / Austria made / good support / popular | Registration reguired upon installation to avail 10 years warranty
SJ / SWH | W/ BATTERY ONLY | 5/7.5 | 5/6.66 | 2022-01-02 | 80 | 18.75/18.75 | Fronius Symo GEN 24 Plus 5kW Hybrid |  | Fronius Symo GEN 24 Plus 5kW Hybrid | 2800 | 10 (refer notes -->) | Leader in technology innovation & R&D / Austria made / good support / popular | Registration reguired upon installation to avail 10 years warranty
SJ / SWH |  | 2023-09-06 | 2023-08-06 | 2022-01-02 | 80 | 37.5/18.75 | Fronius Symo GEN 24 Plus 6kW Hybrid |  | Fronius Symo GEN 24 Plus 6kW Hybrid | 3250 | 10 (refer notes -->) | Leader in technology innovation & R&D / Austria made / good support / popular | Registration reguired upon installation to avail 10 years warranty
SJ / SWH |  | 2022-12-08 | 8/10.66 | 2022-01-02 | 80 | 37.5/18.75 | Fronius Symo GEN 24 Plus 8kW Hybrid |  | Fronius Symo GEN 24 Plus 8kW Hybrid | 3850 | 10 (refer notes -->) | Leader in technology innovation & R&D / Austria made / good support / popular | Registration reguired upon installation to avail 10 years warranty
SJ / SWH |  | 10/15 | 10/13.33 | 2022-01-02 | 80 | 37.5/18.75 | Fronius Symo GEN 24 Plus 10kW Hybrid |  | Fronius Symo GEN 24 Plus 10kW Hybrid | 4050 | 10 (refer notes -->) | Leader in technology innovation & R&D / Austria made / good support / popular | Registration reguired upon installation to avail 10 years warranty
|  |  | 5/7.5 | 2022-01-01 | 125 | 13.8 | LG 5kW single phase Hybrid |  | LG 5048ES INVERTER | 2000 | 10 | Superior quality / Well known brand / Excellent tech support | Compatible only with LV Batteries LG RESU 6.5, 10, & 12
OSW / SWH / BSS |  |  | 5/6.66 | 2023-01-01 | 50 | 20/20 | Sungrow G3 5kW 1 Phase 2 MPPT (SG5.0RS) |  | SG5.0RS | 900 | 10 | Superior quality / good technical spec / good tech support
OSW / SWH / BSS |  |  | 8/10.66 | 1/1/1 | 50 | 20/20/20 | Sungrow G3 ADA 8kW 1 Phase 3 MPPT (SG8.0RS-ADA) (comes with smart meter S100 and DC Cover) |  | SG8.0RS-ADA | 1700 | 10 | Superior quality / good technical spec / good tech support
OSW / SWH / BSS |  |  | 10/13.33 | 1/1/1 | 50 | 20/20/20 | Sungrow G3 ADA 10kW 1 Phase 3 MPPT (SG10RS-ADA) (comes with smart meter S100 and DC Cover) |  | SG10RS-ADA | 1800 | 10 | Superior quality / good technical spec / good tech support
OSW / SWH / BSS |  |  | 5/6.66 | 2023-01-01 | 180 | 18/18 | Sungrow New Generation 5kW 3 Phase 2 MPPT (SG5.0RT) |  | SG5.0RT | 1350 | 10 | Superior quality / good technical spec / good tech support
OSW / SWH / BSS |  |  | 8/10.66 | 2023-01-02 | 180 | 36/18 | Sungrow New Generation 8kW 3 Phase 2 MPPT (SG8.0RT) |  | SG8.0RT | 1450 | 10 | Superior quality / good technical spec / good tech support
OSW / SWH / BSS |  |  | 10/13.33 | 2023-01-02 | 180 | 36/18 | Sungrow New Generation 10kW 3 Phase 2 MPPT (SG10RT) |  | SG10RT | 1700 | 10 | Superior quality / good technical spec / good tech support
OSW / SWH / BSS |  |  | 15/20 | 2023-02-02 | 180 | 36/36 | Sungrow New Generation 15kW 3 Phase 2 MPPT (SG15RT) |  | SG15RT | 2000 | 10 | Superior quality / good technical spec / good tech support
OSW / SWH / BSS |  |  | 20/26.66 | 2023-02-02 | 180 | 36/36 | Sungrow New Generation 20kW 3 Phase 2 MPPT (SG20RT) |  | SG20RT | 2200 | 10 | Superior quality / good technical spec / good tech support
OSW / SWH | Panel stringing with batteries only | 5/7.5 | 5/6.66 | 2022-01-01 | 125 | 2022-12-12 | Alpha SMILE 5 INV single phase |  | Alpha SMILE 5 INV | - | 5+5 | Good quality / good price / inverter inbuilt in AlphaESS Smile 5 Battery | Can be used as DC & AC Connected. AC connected when retrofitted to exiting solar system. DC connected when addting solar and battery as new
OSW / SWH |  | 3/6.66 | 2023-04-03 | 2022-01-01 |  |  | Alpha SMILE B3 PLUS INV single phase |  | Alpha SMILE B3 PLUS INV | - | 5+5 | Good quality / good price / inverter inbuilt in AlphaESS Smile 5 Battery | Can be used as DC & AC Connected. AC connected when retrofitted to exiting solar system. DC connected when addting solar and battery as new
OS / SW / BS |  | 5/7.5 | 5/6.66 | 2022-01-01 | 125 | 15/15 | Sungrow 5kW single phase Hybrid - LV |  | SGR-SH5K-30 | 2000 | 10 | Superior quality / good technical spec / good tech support | Compatible only with LV Batteries LG RESU 6.5, 10, & 12
OS / SW / BS |  | 5 | 5/6.66 | 2022-01-01 | 50 | 20/20 | Sungrow 5kW single phase Hybrid - HV |  | SGR-SH5.0RS | 1800 | 10 | Superior quality / good technical spec / good tech support / efficient - HV | Compatible only with HV Batteries LG RESU 10H PRIME, & LG RESU 16H PRIME + Sungrow batteries SBR 96, 128, 256
OS / SW / BS |  | 6/13 | 2024-08-06 | 2022-01-01 | 50 | 20/20 | Sungrow 6kW single phase Hybrid - HV |  | SGR-SH6.0RS | 2000 | 10 | Superior quality / good technical spec / good tech support / efficient - HV | Compatible only with HV Batteries LG RESU 10H PRIME, & LG RESU 16H PRIME + Sungrow batteries SBR 96, 128, 256
OS / SW / BS |  | 5/7.885 | 5/6.66 | 2022-01-01 | 180 | 16/16 | Sungrow 5kW three phase Hybrid - HV |  | SGR-SH5.0RT | 2900 | 10 | Superior quality / good technical spec / good tech support / efficient - HV | Compatible only with HV Batteries LG RESU 10H PRIME, & LG RESU 16H PRIME + Sungrow batteries SBR 96, 128, 256
OS / SW / BS |  | 10/15 | 10/13.3 | 2022-02-01 | 250 | 16/32 | Sungrow 10kW three phase Hybrid - HV |  | SGR-SH10RT | 3550 | 10 | Superior quality / good technical spec / good tech support / efficient - HV | Compatible only with HV Batteries LG RESU 10H PRIME, & LG RESU 16H PRIME + Sungrow batteries SBR 96, 128, 256
OS / SW / KR |  | 5/? | 5/6.66 | 2023-01-01 | 100 | 18/18 | Huawei 5kW single phase Hybrid |  | SUN2000-5KTL-L1 | 1300 | 10 | Superior quality / good technical spec / excellent tech support | Compatible with Huawei LUNA battery and back up box
OS / SW / KR |  | 6/? | 2023-08-06 | 2023-01-01 | 100 | 18/18 | Huawei 6kW single phase Hybrid |  | SUN2000-6KTL-L1 | 1600 | 10 | Superior quality / good technical spec / excellent tech support | Compatible with Huawei LUNA battery and back up box
OS / SW / KR |  | 5/7.5 | 5/6.66 | 2022-01-01 | 200 | 19.5/19.5 | Huawei 5kW three phase Hybrid - HV |  | SUN2000-5KTL-M1 | 1600 | 10 | Superior quality / good technical spec / excellent tech support | Compatible with Huawei LUNA battery and back up box
OS / SW / KR |  | 2022-09-06 | 2023-08-06 | 2022-01-01 | 200 | 19.5/19.5 | Huawei 6kW three phase Hybrid - HV |  | SUN2000-6KTL-M1 | 1750 | 10 | Superior quality / good technical spec / excellent tech support | Compatible with Huawei LUNA battery and back up box
STEP 4: ENTER SELECTED BATTERY PRICE (WITHOUT NEXTGEN REBATE)
6512
|  | Battery price | 8200 | inc GST | <-- refer cells K82 to K93 for the selected panel
8910
|  |  | kWh | BATTERY + ACCESSORIES |  |  | COMPATIBLE INVERTER |  | BATTERY MODEL NO. | BATTERY PRICE (inc. GST) | WARRANTY | FEATURES | NOTES
|  |  | 6.5 | LG RESU 6.5 LV |  |  | LG 5048ES LV INVERTER 1 ph / Sungrow SGR-SH5K-30 LV 1 ph |  | LG RESU 6.5 LV | 5050 | 10 | Refer link
|  |  | 10 | LG RESU 10 LV |  |  | LG 5048ES LV INVERTER 1 ph / Sungrow SGR-SH5K-30 LV 1 ph |  | LG RESU 10 LV | 5650 | 10 | Refer link
|  |  | 12 | LG RESU 12 LV |  |  | LG 5048ES LV INVERTER 1 ph / Sungrow SGR-SH5K-30 LV 1 ph |  | LG RESU 12 LV | 8000 | 10 | Refer link
|  |  | 10 | LG RESU 10H PRIME - HV |  |  | SGR-SH5.0RS 1ph / 6.0RS 1ph / 5.0RT 3ph / 10RT 3ph |  | LG RESU 10H PRIME - HV | 8800 | 10 | HV battery more efficient compared to LV batteries / excellent brand / good tech support
|  |  | 16 | LG RESU 16H PRIME - HV |  |  | SGR-SH5.0RS 1ph / 6.0RS 1ph / 5.0RT 3ph / 10RT 3ph |  | LG RESU 16H PRIME - HV | 12250 | 10 | HV battery more efficient compared to LV batteries / excellent brand / good tech support
|  |  | 5 | Sofar Powerall 5kW With 5kWh Storage |  |  | ESI 5K-S1 - single phase hybrid inverter |  | (1 x BTS-5K BDU) + (1 x BTS-5K) | 4050 | 10
|  |  | 10 | Sofar Powerall 5kW With 10kWh Storage |  |  | ESI 5K-S1 - single phase hybrid inverter |  | (1 x BTS-5K BDU) + (2 x BTS-5K) | 6550 | 10
|  |  | 15 | Sofar Powerall 5kW With 15kWh Storage |  |  | ESI 5K-S1 - single phase hybrid inverter |  | (1 x BTS-5K BDU) + (3 x BTS-5K) | 9050 | 10
|  |  | 5 | Sofar Powerall 6kW With 5kWh Storage |  |  | ESI 6K-S1 - single phase hybrid inverter |  | (1 x BTS-5K BDU) + (1 x BTS-5K) | 4300 | 10
|  |  | 10 | Sofar Powerall 6kW With 10kWh Storage |  |  | ESI 6K-S1 - single phase hybrid inverter |  | (1 x BTS-5K BDU) + (2 x BTS-5K) | 6850 | 10
|  |  | 15 | Sofar Powerall 6kW With 15kWh Storage |  |  | ESI 6K-S1 - single phase hybrid inverter |  | (1 x BTS-5K BDU) + (3 x BTS-5K) | 9500 | 10
|  |  | 5 | Alpha B3 PLUS 5kWh |  |  | Inbuilt SMILE 3 INVERTER SINGLE PHASE |  | ES-Alpha-Smile-B3-Plus-5KWH | 3700 | 5 | Can be retrofitted to any existing solar system
|  |  | 10.1 | Alpha ESS 5-10kWh |  |  | Inbuilt SMILE 5 INVERTER SINGLE PHASE |  | ES-Alpha-Smile 5-10KWH-v2 | 6600 | 5 | Can be retrofitted to any existing solar system
|  |  | 13.3 | Alpha ESS 5-13.3kWh |  |  | Inbuilt SMILE 5 INVERTER SINGLE PHASE |  | ES-Alpha-Smile 5-13.3KWH | 8000 | 5 | Can be retrofitted to any existing solar system
|  |  | 10.1 add-on | Add on 10kWh battery to SMILE 5 Inverter and battery pack to make it 20.2kWh |  |  |  |  | ES-Alpha-SMILE-BAT-10.1P -v2 | 4900
|  |  | 8.2 | Alpha ESS 10-8.2kWh |  |  | Inbuilt SMILE 10 INVERTER THREE PHASE |  | ES-Alpha-Smile T10-8.2KWH | 8500 | 5 | Can be retrofitted to any existing solar system
|  |  | 9.6 | SBR96 + SBR Control module |  |  | SGR-SH5.0RS 1ph / 6.0RS 1ph / 5.0RT 3ph / 10RT 3ph |  | SBR96 + SBR Control module | 6200 | 10 | HV battery more efficient compared to LV batteries / excellent brand / good tech support
|  |  | 12.8 | SBR128 + SBR Control module |  |  | SGR-SH5.0RS 1ph / 6.0RS 1ph / 5.0RT 3ph / 10RT 3ph |  | SBR128 + SBR Control module | 8200 | 10 | HV battery more efficient compared to LV batteries / excellent brand / good tech support
|  |  | 16 | SBR160 + SBR Control module |  |  | SGR-SH5.0RS 1ph / 6.0RS 1ph / 5.0RT 3ph / 10RT 3ph |  | SBR160 + SBR Control module | 9800 | 10 | HV battery more efficient compared to LV batteries / excellent brand / good tech support
|  |  | 25.6 | SBR256 + SBR Control module |  |  | SGR-SH5.0RS 1ph / 6.0RS 1ph / 5.0RT 3ph / 10RT 3ph |  | SBR256 + SBR Control module | 15000 | 10 | HV battery more efficient compared to LV batteries / excellent brand / good tech support
|  |  | 11.04 | BYD Battery-Box Premium HVM 2.76 kWh (Battery Only) |  |  | Fronius Symo Gen24 Plus 5 / 6 / 8 / 10 kW BYD BCU + Base to include with BYD battery |  | BYD Battery-Box Premium HVM 2.76 kWh (Battery Only) | 8800 | 10 | Extensive experience in batteries / many years in batteries and Electric Vehicles
|  |  | 5 | Enphse IQ Battery - 5kWh |  |  | 5kWh IQ Battery - includes wall bracket |  |  | 5400
|  |  | 10 | Enphse IQ Battery - 10kWh |  |  | 10kWh IQ Battery - includes wall bracket |  |  | 10800
|  |  | 15 | Enphse IQ Battery - 15kWh |  |  | 15kWh IQ Battery - includes wall bracket |  |  | 16200
|  |  | 10 | Solaredge - 10kWh |  |  | SolarEdge Energy Bank HV Battery 10kWh |  | ES-SEG-BAT-10K | 12000 | 10
Enphase
|  |  | 5 | Huawei LUNA 5kWh Battery (includes power modules, back up box extra) |  |  | Huawei SUN2000-2/3/3.68/4/4.6/5/6KTL-L1, SUN2000-3/4/5/6/8/10KTL-M0 4 , SUN2000-3/4/5/6/8/10KTL-M1 |  | LUNA2000-5-S0 | 5500 | 10 | HV battery more efficient compared to LV batteries / excellent brand / good tech support | NOTE L1 series are single phase and M1 are three phase inverters. Also, note if someone needs back up power to be supplied from Huawei LUNA battery in case of a power outage - an additional back up box needs to be added and the cost needs to be increased by $1000 inc GST for single phase and $1,200 inc GST
|  |  | 10 | Huawei LUNA 10kWh Battery (includes power modules, back up box extra) |  |  | Huawei SUN2000-2/3/3.68/4/4.6/5/6KTL-L1, SUN2000-3/4/5/6/8/10KTL-M0 4 , SUN2000-3/4/5/6/8/10KTL-M1 |  | LUNA2000-10-S0 | 9200 | 10 | HV battery more efficient compared to LV batteries / excellent brand / good tech support | NOTE L1 series are single phase and M1 are three phase inverters. Also, note if someone needs back up power to be supplied from Huawei LUNA battery in case of a power outage - an additional back up box needs to be added and the cost needs to be increased by $1000 inc GST for single phase and $1,200 inc GST
|  |  | 15 | Huawei LUNA 15kWh Battery (includes power modules, back up box extra) |  |  | Huawei SUN2000-2/3/3.68/4/4.6/5/6KTL-L1, SUN2000-3/4/5/6/8/10KTL-M0 4 , SUN2000-3/4/5/6/8/10KTL-M1 |  | LUNA2000-15-S0 | 12800 | 10 | HV battery more efficient compared to LV batteries / excellent brand / good tech support | NOTE L1 series are single phase and M1 are three phase inverters. Also, note if someone needs back up power to be supplied from Huawei LUNA battery in case of a power outage - an additional back up box needs to be added and the cost needs to be increased by $1000 inc GST for single phase and $1,200 inc GST
STEP 5: ENTER DESIRED SYSTEM PRICE & CHECK FOR ACCEPTABLE PRICE
|  | ACCEPTABLE PRICE: | 18200 |  | <----- DO NOT OVERWRITE IN THIS CELL
|  | ACCEPTABLE PRICE: | 18200 |  | <----- DO NOT OVERWRITE IN THIS CELL
|  |  |  | INC. GST |  | THIS CELL CALCULATES THE SYSTEM PRICE AUTOMATICALLY
EXTRAS TO BE ADDED ON TOP OF THIS AMOUNT

## Batt Only Pricing
STEP 1: ENTER SELECTED BATTERY PRICE (WITHOUT NEXTGEN REBATE)
|  | Battery price | 5800 | inc GST | <-- refer cells G7 to G10 for the selected panel
kWh | BATTERY + ACCESSORIES |  | COMPATIBLE INVERTER |  | BATTERY MODEL NO. | BATTERY PRICE (inc. GST) | WARRANTY | FEATURES | NOTES
5 | Alpha B3 PLUS 5kWh |  | Inbuilt SMILE 3 INVERTER SINGLE PHASE |  | ES-Alpha-Smile-B3-Plus-5KWH | 3700 | 5 | Can be retrofitted to any existing solar system
10 | Alpha ESS 5-10kWh |  | Inbuilt SMILE 5 INVERTER SINGLE PHASE |  | ES-Alpha-Smile 5-10KWH-v2 | 6100 | 5 | Can be retrofitted to any existing solar system
13.3 | Alpha ESS 5-13.3kWh |  | Inbuilt SMILE 5 INVERTER SINGLE PHASE |  | ES-Alpha-Smile 5-13.3KWH | 8000 | 5 | Can be retrofitted to any existing solar system
8.2 | Alpha ESS 10-8.2kWh |  | Inbuilt SMILE 10 INVERTER THREE PHASE |  | ES-Alpha-Smile T10-8.2KWH | 9000 | 5 | Can be retrofitted to any existing solar system
STEP 2: ENTER DESIRED SYSTEM PRICE & CHECK FOR ACCEPTABLE PRICE
|  | ACCEPTABLE PRICE: | 9500 | <----- DO NOT OVERWRITE IN THIS CELL
|  | ACCEPTABLE PRICE: | 9500 | <----- DO NOT OVERWRITE IN THIS CELL
|  |  | INC. GST |  | THIS CELL CALCULATES THE SYSTEM PRICE AUTOMATICALLY
EXTRAS TO BE ADDED ON TOP OF THIS AMOUNT
1500

## Extras
|  | Quantity | unit cost (inc GST) |  | Total (inc GST) | Notes:
Additional costs: | Optimisers |  | 85 | per unit | 0 | Solaredge panels have inbuilt optimisers - so no additional cost for optimisers for solaregde systems
| Kliplok |  | 35 | per panel | 0 | Check if small or large kliplok. Cost for both is same but small / large detail needed for ordering
| Tilt |  | 35 | per panel | 0 | For flat roofs if required. Or for south facing roofs to improve panel performance
| Terracotta tiles |  | 350 | per project | 0 | Red looking clay tiles are generally terracotta tiles
| Multi storey |  | 275 | per project | 0 | Up to two storeys. Three stories or more will require the installer to conduct a site inspection.
| Array split (n-2) |  | 165 | per extra split | 0 | First two splits are not charged. $165 per split charged from third split onwards
| Steep roof |  | 275 | per project | 0 | For roofs that are greater than standard 22 deg & less than 30 deg. Installer MUST inspect and check slope greater than 30 deg - we may not be able to install if slope is greater than 30 deg.
| Additional isolator @ front or besides inverter |  | 165 | per inverter | 0 | Additional AC isolator required if inverter is behind closed gate or inside garage.
| Cement sheet for inverter and battery |  | 165 | per inverter & battery | 0 | Required for fire protection if the inverter is installed on a plasterboard wall inside garage. Not required if inverter is installed on a brick wall inside garage.
| Bollards around battery |  | 275 | per project | 0 | Required if battery is installed inside garage - for protecting the battery from physical damage from accidents, for example car hitting the battery.
| Smoke detector |  | 275 | per project | 0 | Required if battery is installed inside garage -
| Landscape panels - extra material |  | 165 | per project | 0 | When panels have to be installed in landscape instead of standard portrait arrangement.
| Additional circuit breaker - main isolation switch 1P |  | 165 | per project | 0 | Required if there is no main switch in the main switch board and the main switch board is supplying a sub-board that is located inside the house. Typically the inverter would be installed next to the MSB
| Additional circuit breaker - main isolation switch 3P |  | 275 | per project | 0
| Switchboard extension - minor |  | 275 | per project | 0 | Add this cost when the white switchboard does not have room for inverter circuit breaker / smart meter (if applicable) - consult with projects engineer
| Switchboard extension - major |  | 550 | per project | 0 | Add this cost when the white switchboard does not have room for inverter circuit breaker / smart meter (if applicable) & a new 10-12 way new sub-board needs to be installed - consult with projects engineer
| Switchboard upgrade to 600 x 600 |  | 2750 | per project | 0 | When the old switchboard is small and only includes a meter and some time old switches - individual assessment by engineer is required for such cases
| Supply upgrade - single to three phase (include swbd upgrade) |  | 3300 | per project | 0 | When its a single phase switchboard and an upgrade to three phase is required.
| Neutral link upgrade |  | 70 | per project | 0 | Required when existing neutral link does not have enough holes for connecting all neutral cables. Need to check with installer what happens to the neutral link thats removed
| Additional circuit(s) |  | 275 | per circuit | 0 | When the customer requests an additional circuit to be installed from the switchboard for their appliances or a general power outlet.
| Antenna relocate / removal (no disposal) |  | 165 | per project | 0 | When the antenna is in the way of solar panel installation and it needs to be relocated
| Extra cable length |  | 20 | per meter | 0 | Extra AC cable if the length is greater than 10m
| Tile decktite |  | 100 | per project | 0 | For terracotta tiles
| Ethernet cable connection |  | 140 | per project | 0
Asbestos removal - 3rd party
| Additional inverter |  | 265 | per inverter | 0 | When more than one inverter is required to be installed
Civil works
Removal of old system / pool heating
| Removal and disposal of old hot water system |  | 550 | per system | 0 | Can only remove panels. Cannot disconnect or remove water pipes and other plumbing work. Qualified professional with plumbing licence required for that work
| Roof truss adjustment |  | 165 | per project | 0
| Further investigation |  | 275 | per project | 0
| Contingency (unknown / difficult site conditions) |  | 10% | percentage | If many uncertainties are involved - generally used for larger commercial projects
| Tesla EV charger (supply and install) |  | 1750 | per inverter | 0
| Annual maintenance |  | 550 | 2 years | 0
| Panel cleaning |  | 15 | per panel | 0
| DC circuit breaker |  |  |  | 0
| Change over switch & backup cct - 1ph & 3ph |  | 550 | per project | 0
| Extra visit |  | 275 | per project | 0
| Switchgear for enphase battery |  | 880 | per project
| Structural assessments |  | 550 | per project | 0 | For pergola and other roof sdtructures that need strictural assessments
PLANT HIRE
| Scissor lift |  | 750 | per day | For multi storey. Can only br used if flat surface is available
| EWP - Elevated work platform (boom crane) |  | 855 | per day | Not preferred and not to be used
| Edge protection |  | 500 | per project | Required for steep roof for fall projection.
SMART ADDITIONS
| Solar Analytics Smart meter (inc subsc., install) |  | 925 | per meter | 0
| Polygon Energy smart meter |  | 550 | per meter | 0
| Export control |  | 550 | per meter | 0
| Smart energy configuration |  | 330 | per project
| eBrim inc install |  | 2200 | per system
| Reposit VPP inc install |  | 1500 | per box
| Evergen VPP |  | TBC | per system
| EV charger - single phase 7kW |  | TBC | per charger
| EV charger - three phase 22kW |  | TBC | per charger
| Smart EV Charger |  | TBC | per charger
AWS Sunmate 2 - 3.6kW 1 phase, 2 outputs | Solar hot water diverter inc install |  | 1300 | per box
AWS Sunmate 2 - 3.6kW 3 phase, 2 outputs | Solar hot water diverter inc install |  | 1700 | per box
Catch power Green - 4.8kW 1 phase, 1 output | Solar hot water diverter inc install |  | 750 | per box
Catch power Blue - 4.8kW 3 phase, 1 output | Solar hot water diverter inc install |  | 2500 | per box
Solaredge, 4.8kW 1 phase 1 outout | Solar hot water diverter inc install |  | 2000 | per box
| Sunny Home Manager 2.0 inc install |  | 1450 | per unit
| SMA Energy Meter inc install |  | 1100 | per unit
| SwitchDin Droplet inc install |  | 800 | per unit
Allume - apartment solution
| Additional cost sub-total (inc GST) |  |  |  | 0
No Fuse inside | $200 charges to be added for isolation
|  | System kW | Unit price |  | BOM
Thumb Rules for Enphase | Solar Only | 6.6 | 570 | per kW | 3762 | ex GST | <--- this value to be inserted in the inverter pricing (ex GST)
| Isolators | <6.6 | 2 AC isolators
|  | > 6.6kW | 3 AC isolators
| Solar + Battery | 6.6 | 570 |  | 4062 | ex GST | <--- this value to be inserted in the inverter pricing (ex GST)
Extras for Enphase battery:
| Switchgear for batteries | Refer line item 40 above